{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["第1页"],"not_rendered":{"images":2},"read":"whole","date_system":"1900"}

{"sheet":"第1页","index":0,"n_rows":33,"n_cols":11,"rows_kept":33,"merged":[[0,1,0,5],[0,7,0,10],[1,1,1,10],[2,1,2,5],[2,6,2,9],[3,2,4,3],[3,4,3,5],[3,6,4,7],[3,8,4,9],[3,10,4,10],[4,4,4,5],[5,2,6,3],[5,4,5,5],[5,6,6,7],[5,8,5,9],[5,10,6,10],[6,4,6,5],[6,8,6,9],[7,2,8,3],[7,4,7,5],[7,6,8,7],[7,8,7,9],[7,10,8,10],[8,4,8,5],[8,8,8,9],[9,2,10,7],[9,8,10,9],[9,10,10,10],[11,1,11,10],[12,2,13,2],[12,3,12,4],[12,5,12,6],[12,8,12,9],[12,10,13,10],[13,3,13,4],[13,5,13,6],[13,8,13,9],[14,3,14,4],[14,5,14,6],[14,8,14,9],[15,3,15,4],[15,5,15,6],[15,8,15,9],[16,3,16,4],[16,5,16,6],[16,8,16,9],[17,3,17,4],[17,5,17,6],[17,8,17,9],[18,3,18,4],[18,5,18,6],[18,8,18,9],[19,3,19,4],[19,5,19,6],[19,8,19,9],[20,3,20,4],[20,5,20,6],[20,8,20,9],[21,3,21,4],[21,5,21,6],[21,8,21,9],[22,3,22,4],[22,5,22,6],[22,8,22,9],[23,3,23,4],[23,5,23,6],[23,8,23,9],[24,3,24,4],[24,5,24,6],[24,8,24,9],[25,3,25,4],[25,5,25,6],[25,8,25,9],[26,3,26,4],[26,5,26,6],[26,8,26,9],[27,3,27,4],[27,5,27,6],[27,8,27,9],[28,3,28,4],[28,5,28,6],[28,8,28,9],[29,1,29,2],[29,3,29,10],[30,1,30,2],[30,3,30,6],[30,7,30,9],[30,10,31,10],[31,1,31,2],[31,3,31,6],[31,7,31,9],[32,1,32,10]]}
[]
[null,"民丰佳苑三期续建工程-沉降观测记录表"]
[null,"制表日期:2018年6月12日 星期二",{"$nulls":8},"编号：01"]
[null,"工 程","民丰佳苑三期续建工程基坑周边建筑沉降观测",null,"工 程",{"$nulls":3},"委托单位"]
[null,"名 称",null,null,"地 点"]
[null,"测 量",null,null,"仪 器",{"$nulls":3},"仪器",null," 无"]
[null,"仪 器",null,null,"型 号",{"$nulls":3},"检定日期"]
[null,"水准点",null,null,"水准点",{"$nulls":3},"水准点"]
[null,"编   号",null,null,"高 程",{"$nulls":3},"所在位置"]
[null,"测 量","本期为第09期,62天;从第01期到第09期,232天.",{"$nulls":5},"荷载情况",null,"0.0"]
[null,"周 期"]
[null,"观测点布置简图："]
[null,"观测点","观测日期","实测标高",null,"本期沉降量",null,"总沉降量","沉降速度",null,"备    注"]
[null,"编 号",null,"(m)",null,"(mm)",null,"(mm)","(mm/d)"]
[null,"J13","2017年07月28日(9)","10.82516",null,"1.91",null,"8.23","0.035",null,"首期2016年12月08日(1)"]
[null,"J14","2017年07月28日(9)","10.82145",null,"1.14",null,"5.82","0.025",null,"首期2016年12月08日(1)"]
[null,"J15","2017年07月28日(9)","10.76054",null,"1.15",null,"6.05","0.026",null,"首期2016年12月08日(1)"]
[null,"J16","2017年07月28日(9)","10.90791",null,"2.16",null,"4.25","0.018",null,"首期2016年12月08日(1)"]
{"$rows_empty":11}
[null,"观测单位"]
[null,"技术负责人",null,"审核人",{"$nulls":3},"观测人",null,null,"单位印章"]
[]
[null,"注：表中沉降数据正号（已省略）为下沉，负号为上隆。"]